FD Selection Efficiency under increased NSB
- Using Real Data
- Using Simulation
- Differences in trigger conditions
- Energy and Xmax resolution and bias
- Rp bias
- Differences in Track Length

Characterising PMT at 600V
- Using PMT at 900V as baseline
- Linearity
- ND filters vs Two LED method
- Pulse Shape
- Temperature Effects
- Dark Noise?

FD FLT under increased NSB
Simulation of Kv under NSB

Measuring Gain Variance with Data
- Measuring directly from the PMT in the lab did not work
- Calibrating LED light source with another PMT did not work
- Theoretical expectation of Gain Variance
- Low/Standard measurement of CalA for FD
- Three different methods
- Bootstrap method to find uncertainties on Method 3

Simulation of PMT Gain Variance
- Flat distribution for Dynode
- Random Gaussian distribution for Dynode
- Gain Variance results

Simulated an FD shift in the Lab
- at 900V and 600V
- different NSB levels
- different lengths
- does PMT react the same

Cloud Camera Flags evaluation